CORRIGENDUM/ADDENDUM

Corrigendum/ Addendum in respect of Tender no. ZO/AJMER/SEC/2025-26/91, dated 02.08.2025 for ‘Empanelment of vendors for Installation & maintenance of CCTV and Alarm system in branches under Ajmer Zone’

Bidders are requested to take into account following Corrigendum/ Addendum before submission of their bids against the query raised during the Pre- Bid meeting dated 08.08.2025.

- Revised specification for CCTV System has been attached. The CCTV gadgets will be as per the Technical Specification enclosed or of higher specification.

- There is no requirement of UL/CE/FCC certification if the equipment carries a BIS Certification (which is mandatory).

- IP Camera should be STQC compliant.

- Eligibility criteria for CCTV and Alarm System: Minimum turnover of Rs. 10.0 Crore per year in the last 3 years. Registration with sales Tax, GST, ESI & EPF is essential.

- CCTV gadgets will be same or higher quality (suggested firms Parma, Hikvision, Honeywell, CP Plus etc) & Alarm system will be same or higher quality (suggested firms Securico, Digital, Texicom etc.)

- Bidder should be registered under Trade License Act in India.

Zonal Office Ajmer